## About
ASCAPEX Annual Sustaining CAPEX by Generator Age
Sources: | Age-related sustaining CAPEX terms (coal slope; nuclear and wind adders)
U.S. Energy Information Administration (EIA), as recorded in the EPS CCaMC workbook
'Capacity Construction and Maint Costs.xlsx', 'Annual CAPEX Calcs' sheet (InputData/elec/CCaMC), read 2026-08-12
2026
n/a (see the CCaMC workbook's own About for the underlying EIA publications)
Coal and lignite (incl. CCS variants): EIA equation CAPEX(2017 $/kW-yr) = 16.53 + 0.126 x age + 5.68 x FGD -> age slope 0.126 2017-$/kW-yr per year (x0.921 GDP deflator to 2012$, x1000 to $/MW-yr); the FGD term and deflator level wash into the anchored base. Nuclear: 28 base + 39 '>30 years' adder (2021 $/kW-yr, x0.8287 to 2012$). Onshore/offshore wind: 0 base, +4 '>30yr', +4 incremental '>40yr' (2021 $/kW-yr, x0.8287).
Derivation and anchoring
Energy Innovation
2026
calibration
Notes:
Concept | Age-graded annual sustaining CAPEX (base + age slope + '>30yr' adder + incremental '>40yr' adder), replacing the flat CCaMC ACAPEXpUC constant. Needed because vintages cross the 30/40-year thresholds mid-run - a constant input cannot represent that. With oldest-first retirement, the fleet-weighted cost bar falls as old cohorts exit
Coverage | Types without documented age terms (everything except coal/lignite, nuclear, and wind) get a flat base with zero slope/adders - behavior unchanged, and the fallback for regions without vintage data. SMR and hydrogen techs are deliberately flat (no old vintages).
Correction 2026-08-26 (base values only; slopes/adders unchanged):
The original bases for nuclear, SMR, and the coal/lignite family were the fleet-weighted ACAPEXpUC constants from the CCaMC workbook. Those constants already embed the fleet's age costs (nuclear: the >30-yr adder, since the whole fleet is >30; coal: ~43-yr capacity-weighted average age x the age slope), so adding the age terms on top double-counted them (~$88k/MW-yr for aged nuclear vs the documented $55.5k).
Bases reset to the EIA age-0 values per this sheet's own documented method: nuclear and SMR = 28 x 0.8287 = 23,203.60 $/MW-yr; hard coal / lignite (+CCS variants) = (16.53 + 5.68 x 0.654 fleet FGD share) x 0.921 = 18645.39 $/MW-yr. FGD share is capacity-weighted from CCaMC 'Annual CAPEX Calcs' (565 coal units, 227 GW). SMR note: its old flat constant simply copied aged-fleet nuclear; a new-build tech is set to the age-0 EIA base for consistency.
South Korea update 2026-10-28: | Coal/lignite (+CCS) base reset to (16.53 + 5.68 x 1.0 FGD share) x 0.921 = 20455.41 $/MW-yr (US value used 0.654). FGD share ~1.0 is a working estimate, partly checked 2026-10-28: KC Cottrell 2008 UN-ESCAP deck (FGD on 30 coal units / 14,565 MW installed 1997-2005); FGD required at all plants from Jan 1999; KEPCO FY2019 Form 20-F plant anti-pollution lists show FGD at Boryeong 3-8, Taean 1-4, Hadong 2-6, Dangjin 1-10, Samcheonpo 5-6, Donghae 1-2. No unit-level census found; Taean 5-10 and Hadong 1, 7-8 are not named in the 20-F lists (not flagged as lacking FGD). Verify against KEPCO gencos / Ministry of Environment unit data. Slopes/adders unchanged. Values are deliberately NOT scaled by the Korea/US construction-cost ratio (0.461): Korean anchors (KEEI 17-16 life-extension at 20% of new build, ~$27/kW-yr; MOTIE 2018 environmental retrofit plan, ~$21/kW-yr) sit near the unscaled ~$23/kW-yr, not the scaled ~$10.5.

## ASCAPEX-base
Unit: $/MW/yr | Annual sustaining CAPEX base
hard coal | 20455.41
natural gas steam turbine | 8473.04
natural gas combined cycle | 0.00
nuclear | 23203.6
hydro | 0.00
onshore wind | 12.18
solar PV | 0.00
solar thermal | 0.00
biomass | 8473.04
geothermal | 0.00
petroleum | 8473.04
natural gas peaker | 0.00
lignite | 20455.41
offshore wind | 0.00
crude oil | 0.00
heavy or residual fuel oil | 8473.04
municipal solid waste | 8473.04
hard coal w CCS | 20455.41
natural gas combined cycle w CCS | 0.00
biomass w CCS | 8473.04
lignite w CCS | 20455.41
small modular reactor | 23203.6
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00

## ASCAPEX-slope
Unit: $/MW/yr per year of age | Age slope (EIA coal equation)
hard coal | 116.05
natural gas steam turbine | 0.00
natural gas combined cycle | 0.00
nuclear | 0.00
hydro | 0.00
onshore wind | 0.00
solar PV | 0.00
solar thermal | 0.00
biomass | 0.00
geothermal | 0.00
petroleum | 0.00
natural gas peaker | 0.00
lignite | 116.05
offshore wind | 0.00
crude oil | 0.00
heavy or residual fuel oil | 0.00
municipal solid waste | 0.00
hard coal w CCS | 116.05
natural gas combined cycle w CCS | 0.00
biomass w CCS | 0.00
lignite w CCS | 116.05
small modular reactor | 0.00
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00

## ASCAPEX-adder30
Unit: $/MW/yr | Adder for age > 30
hard coal | 0.00
natural gas steam turbine | 0.00
natural gas combined cycle | 0.00
nuclear | 32319.30
hydro | 0.00
onshore wind | 3314.80
solar PV | 0.00
solar thermal | 0.00
biomass | 0.00
geothermal | 0.00
petroleum | 0.00
natural gas peaker | 0.00
lignite | 0.00
offshore wind | 3314.80
crude oil | 0.00
heavy or residual fuel oil | 0.00
municipal solid waste | 0.00
hard coal w CCS | 0.00
natural gas combined cycle w CCS | 0.00
biomass w CCS | 0.00
lignite w CCS | 0.00
small modular reactor | 0.00
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00

## ASCAPEX-adder40
Unit: $/MW/yr | Incremental adder for age > 40
hard coal | 0.00
natural gas steam turbine | 0.00
natural gas combined cycle | 0.00
nuclear | 0.00
hydro | 0.00
onshore wind | 3314.80
solar PV | 0.00
solar thermal | 0.00
biomass | 0.00
geothermal | 0.00
petroleum | 0.00
natural gas peaker | 0.00
lignite | 0.00
offshore wind | 3314.80
crude oil | 0.00
heavy or residual fuel oil | 0.00
municipal solid waste | 0.00
hard coal w CCS | 0.00
natural gas combined cycle w CCS | 0.00
biomass w CCS | 0.00
lignite w CCS | 0.00
small modular reactor | 0.00
hydrogen combustion turbine | 0.00
hydrogen combined cycle | 0.00